Hi Tony

Thank you for taking time out of your busy schedule to spend time with us last Tuesday afternoon, it was very much appreciated.

Going into our walk around and inspection of the drains, all three of us believed that the primary issue was on the intersection of Napier St. and McElwee St., and your initial understanding was that enhancing the outflow drainage from that corner would be a sufficient solution.

Upon inspection further afield it became evident to us all that there is effectively no drainage in a northerly direction across McElwee St. on both intersections.
- Western side of Jervois Rd - ineffective drain, probably blocked.
- Eastern Side of Jervois Rd. - no drain appears to exist.
- Western side of Napier St. - drain appears to be functional.
- Eastern Side of Napier St. - apparently limited or no function.

This means that we are seeing drainage from both sides of Jervois Rd., the south side of McElwee St., and the western side of Napier St., all converging on the same corner. (The southwest corner of the Napier St/McElwee St. Intersection.)
It is this corner that has insufficient out-flow to deal with the increased load, and you suggested that solutions to the upstream issues will need to be investigated, as well as enhancing the outflow.

We were also able to see that surplus water (failover) from Jervois Rd. (which was not able to be carried east on McElwee St.) would flow overland to Napier St. in the vicinity of No. 42 Jervois Rd. (the property immediately behind ours), which created a localised issue for our personal situation.

Note: other properties on our side of Napier St. also have runoff from the Jervois Rd. properties that back on to them, with some garages and sleep-outs being flooded in severe weather events.

Vanessa’s Questions.
1. Filled-in ditches on Jervois Rd - what is the impact on adjoining properties on Napier St. via backyards. (possibly no or limited drainage connection of properties into the Jervois St. stormwater system). Can cameras be used to assess whether there are on-property drains connected to the stormwater pipes in filled in ditches?
2. Area of impervious surface on properties e.g. concrete driveways/park off pads, and extra outbuildings which have an impact on accelerated runoff to stormwater. These have increased noticeably in recent years, such that it is likely that some of these properties no longer meet the requirements of the Jervoistown Zone Plan.
Note: a case in point is 36 Jervois Rd which we noted during our walkabout now has a large expanse of concrete where the front lawn used to be.
It was agreed that Vanessa would contact the NCC Planning Department to discuss this further.
3. Can an update to the aerial mapping/photographs of properties in Jervoistown be done so the issue of impervious surfaces can be factored into the modelling required to work out the adequacy of the storm water system?
4. Planning permission for the subdivision of large properties on Eastern side of Napier St. (No. 32 already started).
This is of concern to us as it puts extra pressure on the Meeanee drain, which is where much of the stormwater drainage from the middle block of Jervoistown ends up (see above).
Vanessa was told 6yrs ago, by an owner of one of those properties, that landowners would have to pay a large amount of money to upgrade the Meeanee Drain before permission would be given to subdivide any of the larger properties on that side of Napier St. Now it appears owners only have to mitigate on their own individual properties, with large soak pit &/or retention tank.
What will the impact on drainage from the middle block of Jervoistown to the Meeanee Drain be i.e will this drain already be overloaded by the time it is joined by the water from the middle block?
5 Maintenance of Drains: What are the conditions of the current contract with Fulton Hogan?
When we first moved here 8+ years ago, we were told, that Higgins Contractors were contracted to clean out the bottom of the ditches once a year. We only recall seeing this happen once, when a large sucker truck was used. Long term residents confirmed that cleaning didn’t happen on a regular basis.
Vanessa has made at least three attempts (last year/and maybe once early this year) to find out from NCC what the current situation is. She has never been contacted back by Council or the contractor (now Fulton Hogan) following any of her enquiries.
On one occasion this year/or late last year we did see the use of a small digger that was operating across, rather than along the bottom, of the ditches..This caused some damage to the sides of some of the ditches, and only some ditches were (randomly) “cleared”?
Some residents, who are both able and willing to do so, keep the ditches on their berms clear. However, for over a year now, it has been difficult to do this because of the ongoing rain that has kept the drains wet and muddy, particularly those ditches (including ours) which hold quite a lot of water because of down stream ditches being filled in.
This has led to a build-up of silt and drains blocked with vegetation. This blockage can be seen in the open drains but not in those that have been filled in and (hopefully??) piped, which is a further concern. You did suggest that this could be checked with cameras?
Conclusion: Given that our home has now flooded twice in just over 2 years this situation is extremely concerning for us - we now know for certain that our home will be flooded again, probably sooner than later. And, every time there are Metservice Watches, and (particularly) Warnings in place we live with heightened stress, which has had an impact on our health.*
We now realise that the upgrade needed to make the Jervoistown stormwater system fit for purpose is even bigger than initially thought.
However, we are hopeful that the work already proposed by you as a solution to the issues on the southern corner of the Napier St. and McElwee St. can go ahead in the near future. This would address part of the problem at least, with those issues now identified in Jervois Rd being remedied as soon as possible after that.
Thank you for your time and attention at this busy time for the NCC Infrastructure Team.

Vanessa and Bruce.

* Please note that we made our best endeavours, with the help of neighbours, to protect our home from Cyclone Gabrielle by using a combination of heavy duty black plastic + sandbags in some places, and flood dam barriers in other places, depending on adjoining surfaces. This was not succesful in stopping flood waters entering our home.